## Fire Extingisher
Fire Extinguishers Checklist
No | Floor | Location | Type | Capacity | Comment
1 | Basement 3 | Zone 1 – Fan Room | Powder | 6 kg | Poor Condition
2 | Basement 3 | Zone 1 – Civil Defense elevator | Powder | 6 kg
3 | Basement 3 | Zone 1 – Civil Defense elevator | Powder | 6 kg
4 | Basement 3 | Zone 1 – Outside Telecom Room | Powder | 6 kg
5 | Basement 3 | Zone 2 – Parking 72 | Powder | 6 kg
6 | Basement 3 | Zone 2 – Parking 103 | Powder | 6 kg
7 | Basement 3 | Zone 3 – Parking 100 | Powder | 6 kg
8 | Basement 3 | Zone 3 – Parking 89 | Powder | 6 kg
9 | Basement 3 | Zone 3 – Parking 95 | Powder | 6 kg
10 | Basement 3 | Zone 3 – Parking 42 | Powder | 6 kg
11 | Basement 3 | Zone 3 – Electrical Room P. 47 | Powder | 6 kg
12 | Basement 4 | Zone 3 – Parking 33 | Powder | 7 kg
13 | Basement 3 | Zone 3 – Electrical Room P. 34 | CO2 | 6 kg
14 | Basement 3 | Zone 3 – Pump Room | Powder | 6 kg
15 | Basement 3 | Zone 3 – Parking 26 | Powder | 6 kg
16 | Basement 3 | Zone 2 – Parking 20 | Powder | 6 kg
17 | Basement 3 | Zone 2 – Parking 50 | Powder | 6 kg
18 | Basement 3 | Zone 2 – Parking 14 | Powder | 6 kg | Low pressure
19 | Basement 3 | Zone 1 – Parking 8 | Powder | 6 kg | Broken door handle
20 | Basement 3 | Zone 1 – Parking 2 | Powder | 6 kg
21 | Basement 3 | Zone 1 – Electrical Room | CO2 | 6 kg
22 | Basement 3 | Zone 1 – Service Elevator | Powder | 6 kg | Expired - Broken door handle
23 | Basement 3 | Zone 1 – Electrical Room | CO2 | 6 kg
24 | Basement 3 | Zone 3 – Telecom Room | CO2 | 6 kg
25 | Basement 3 | Zone 1 – Pump Room | Powder | 6 kg
26 | Basement 3 | Zone 1 – General Waste | Powder | 6 kg
27 | Basement 2 | Zone 1 – Fan Room | Powder | 6 kg
28 | Basement 2 | Zone 1 – Parking 53 | Powder | 6 kg
29 | Basement 2 | Zone 1 – Parking 56 | Powder | 6 kg
30 | Basement 2 | Zone 1 – AHU Room | Powder | 6 kg | On the floor
31 | Basement 2 | Zone 1 – Parking 60 | Powder | 6 kg
32 | Basement 2 | Zone 1 – Parking 62 | Powder | 6 kg
33 | Basement 2 | Zone 1 – Telecom Room | CO2 | 6 kg
34 | Basement 2 | Zone 2 – Parking 96 | Powder | 6 kg
35 | Basement 2 | Zone 2 – Parking 90 | Powder | 6 kg | Low pressure
36 | Basement 2 | Zone 3 – Telecom Room | CO2 | 6 kg
37 | Basement 2 | Zone 3 – Parking 87 | Powder | 6 kg
38 | Basement 2 | Zone 3 – Parking 84 | Powder | 6 kg
39 | Basement 2 | Zone 3 – Outside Transformer | Powder | 6 kg
40 | Basement 2 | Zone 3 – Electrical Room | CO2 | 6 kg
41 | Basement 2 | Zone 3 – Transformer | CO2 | 6 kg
42 | Basement 2 | Zone 3 – Parking 41 | Powder | 6 kg
43 | Basement 2 | Zone 3 – Outside Transformer other side | Powder | 6 kg
44 | Basement 2 | Zone 3 – Electrical Room | CO2 | 6 kg
45 | Basement 2 | Zone 3 – Pump Room | Powder | 6 kg
46 | Basement 2 | Zone 3 – Parking 32 | Powder | 6 kg | Expired
47 | Basement 2 | Zone 3 – Parking 26 | Powder | 6 kg | Expired
48 | Basement 2 | Zone 3 – Electrical Room | CO2 | 6 kg
49 | Basement 2 | Zone 2 – Parking 20 | Powder | 6 kg
50 | Basement 2 | Zone 2 – Parking 45 | Powder | 6 kg
51 | Basement 2 | Zone 2 – Parking 49 | Powder | 6 kg
52 | Basement 2 | Zone 2 – Parking 14 | Powder | 6 kg
53 | Basement 2 | Zone 1 – Parking 8 | Powder | 6 kg
54 | Basement 2 | Zone 1 – Parking 3 | Powder | 6 kg
55 | Basement 2 | Zone 1 – Pump Room | Powder | 6 kg
56 | Basement 2 | Zone 1 – Electrical Room | CO2 | 6 kg
57 | Basement 1 | Zone 1 – Fluoroscopy Room | CO2 | 6 kg | Expired
58 | Basement 1 | Zone 1 – Electricity Room | CO2 | 6 kg
59 | Basement 1 | Zone 1 – Service Elevators | Powder | 6 kg
60 | Basement 1 | Zone 1 – X-Ray 1 | CO2 | 6 kg | Expired
61 | Basement 1 | Zone 1 – Near X-Ray 1 | Powder | 6 kg
62 | Basement 1 | Zone 1 – X-Ray 2 | CO2 | 6 kg | Expired
63 | Basement 1 | Zone 1 – X-Ray 3 | CO2 | 6 kg | Expired
64 | Basement 1 | Zone 1 – Electricity Room | CO2 | 6 kg
65 | Basement 1 | Zone 1 – Civil Defense elevator | Powder | 6 kg
66 | Basement 1 | Zone 1 – Nurse station | Powder | 6 kg | Expired
67 | Basement 1 | Zone 1 – Supply Store | Powder | 6 kg
68 | Basement 1 | Zone 1 – Near Supply Store | Powder | 6 kg
69 | Basement 1 | Zone 1 – MRI | CO2 | 6 kg | Expired
70 | Basement 1 | Zone 1 – MRI | CO2 | 6 kg | Expired
71 | Basement 1 | Zone 1 – MRI Compostable | CO2 | 6 kg | Expired
72 | Basement 1 | Zone 1 – Near Fluoroscopy Room Other | Powder | 6 kg
73 | Basement 1 | Zone 2 – Staff Lounge Male | Powder | 6 kg
74 | Basement 1 | Zone 2 – Near Mammography | Powder | 6 kg
75 | Basement 1 | Zone 2 – Waiting Area | Powder | 6 kg
76 | Basement 1 | Zone 2 – Main Entrance | Powder | 6 kg
77 | Basement 1 | Zone 3 – Service Elevators | Powder | 6 kg
78 | Basement 1 | Zone 3 – Electricity Room | CO2 | 6 kg | Expired
79 | Basement 1 | Zone 3 – Nuclear Entrance | Powder | 6 kg
80 | Basement 1 | Zone 3 – Spect-CT Room | CO2 | 6 kg
81 | Basement 1 | Zone 3 – Nuclear Corridor | Powder | 6 kg | Expired
82 | Basement 1 | Zone 3 – Near Electricity Room | Powder | 6 kg | Expired
83 | Basement 1 | Zone 3 – Electricity Room | CO2 | 6 kg | Expired
84 | Basement 1 | Zone 3 – Emergency Stairs | Powder | 6 kg
85 | Basement 1 | Zone 3 – AHU Room | Powder | 6 kg
86 | Basement 1 | Zone 3 – Parking Exit | Powder | 6 kg
87 | Basement 1 | Zone 3 – Parking No. 29 | Powder | 6 kg | Low pressure
88 | Basement 1 | Zone 3 – Electricity Room | CO2 | 6 kg
89 | Basement 1 | Zone 3 – Parking No. 27 | Powder | 6 kg
90 | Basement 1 | Zone 3 – Entrance to B2 | Powder | 6 kg
91 | Basement 1 | Zone 3 – BMS | CO2 | 6 kg | Expired
92 | Basement 1 | Zone 3 – Telecom Room | CO2 | 6 kg
93 | Basement 1 | Zone 3 – Parking No. 32 | Powder | 6 kg
94 | Basement 1 | Zone 2 – Parking No. 35 | Powder | 6 kg
95 | Basement 1 | Zone 2 – Parking No. 39 | Powder | 6 kg
96 | Basement 1 | Zone 1 – Telecom Room | CO2 | 6 kg
97 | Basement 1 | Zone 1 – Parking No. 44 | Powder | 6 kg
98 | Basement 1 | Zone 1 – Parking No. 3 | Powder | 6 kg
99 | Basement 1 | Zone 1 – Parking No. 46 | Powder | 6 kg
100 | Basement 1 | Zone 1 – Parking No. 1 | CO2 | 6 kg
101 | Basement 1 | Zone 1 – Fan Room | Powder | 6 kg
102 | Basement 1 | Zone 2 – Fuel Pump Room | Foam | 50 kg
103 | Ground Floor | Zone 1 – Emergency Exit | Powder | 6 kg
104 | Ground Floor | Zone 1 – Electricity Room | CO2 | 6 kg
105 | Ground Floor | Zone 1 – HEPPU Unit | Powder | 6 kg
106 | Ground Floor | Zone 1 – Service Elevators | Powder | 6 kg
107 | Ground Floor | Zone 1 – Electricity Room | CO2 | 6 kg
108 | Ground Floor | Zone 1 – Coffee Matics | Powder | 6 kg
109 | Ground Floor | Zone 1 – Lobby | Powder | 6 kg
110 | Ground Floor | Zone 1 – Lobby | Powder | 6 kg
111 | Ground Floor | Zone 1 – Barns Coffee Shop | Powder | 6 kg | Expired
112 | Ground Floor | Zone 1 – Front of Recycled Nest | Powder | 6 kg
113 | Ground Floor | Zone 2 – Duty Manager Office | Powder | 6 kg
114 | Ground Floor | Zone 2 – Main Elevators | Powder | 6 kg
115 | Ground Floor | Zone 3 – Near Supply Store | Powder | 6 kg
116 | Ground Floor | Zone 3 – Service Elevators | Powder | 6 kg
117 | Ground Floor | Zone 3 – Electricity Room S - Elevators | CO2 | 6 kg | Expired
118 | Ground Floor | Zone 3 – ER Corridor | Powder | 6 kg
119 | Ground Floor | Zone 3 – ER Corridor | Powder | 6 kg
120 | Ground Floor | Zone 3 – ER | Powder | 6 kg | Expired
121 | Ground Floor | Zone 3 – ER | Powder | 6 kg | Expired
122 | Ground Floor | Zone 3 – IT Telecom Room | CO2 | 6 kg | Expired
123 | Ground Floor | Zone 3 – Store Near Telecom | CO2 | 6 kg | Expired
124 | Ground Floor | Zone 3 – Outside Electricity Room | Powder | 6 kg | Expired
125 | Ground Floor | Zone 3 – Electricity Room | CO2 | 6 kg | Expired
126 | Ground Floor | Zone 1 – Optical shop | Powder | 6 kg | Expired
127 | Ground Floor | Zone 1 – Optical shop | Powder | 6 kg
128 | Ground Floor | Zone 1 – Optical shop | Powder | 6 kg | Expired
129 | Ground Floor | Zone 1 – Optical shop | Powder | 6 kg | Expired
130 | Ground Floor | Zone 1 – Gas Room | Powder | 6 kg | Expired
131 | Mizzanine Floor | Zone 1 – AHU Room | Powder | 6 kg
132 | Mizzanine Floor | Zone 3 – Store | CO2 | 6 kg | Expired
133 | Mizzanine Floor | Zone 3 – Switchgear Room | CO2 | 6 kg | Expired
134 | Mizzanine Floor | Zone 3 – CBS Room | CO2 | 6 kg | Expired
135 | Parking 1 | Zone 2 – Parking No. 1 | Powder | 6 kg
136 | Parking 1 | Zone 1 – Parking No. 2 | Powder | 6 kg
137 | Parking 1 | Zone 1 – Electricity Room | CO2 | 6 kg | Expired
138 | Parking 1 | Zone 1 – Parking No. 6 | Powder | 6 kg
139 | Parking 1 | Zone 1 – Electricity Room | CO2 | 6 kg
140 | Parking 1 | Zone 1 – Civil Defiance Elevators | Powder | 6 kg | Expired
141 | Parking 1 | Zone 1 – Parking No. 14 | Powder | 6 kg
142 | Parking 1 | Zone 1 – Parking No. 26 | Powder | 6 kg
143 | Parking 1 | Zone 1 – Parking No. 11 UPS | CO2 | 6 kg
144 | Parking 1 | Zone 1 – Parking No. 11 UPS inside | Powder | 9 kg
145 | Parking 1 | Zone 1 – Parking No. 38 | Powder | 6 kg
146 | Parking 1 | Zone 2 – Elevators Entrance | Powder | 6 kg
147 | Parking 1 | Zone 3 – Parking No. 48 | Powder | 6 kg
148 | Parking 1 | Zone 3 – Parking No. 57 | Powder | 6 kg
149 | Parking 1 | Zone 3 – Parking No. 68 | Powder | 6 kg | Broken door handle
150 | Parking 1 | Zone 3 – Parking No. 69 | Powder | 6 kg
151 | Parking 1 | Zone 3 – Parking No. 72 | Powder | 6 kg
152 | Parking 1 | Zone 3 – Electricity Room | CO2 | 6 kg
153 | Parking 1 | Zone 3 – AHU Room | Powder | 6 kg
154 | Parking 1 | Zone 2 – Parking Exit No.76 | Powder | 6 kg
155 | Parking 1 | Zone 2 – Electricity Room Exit side | CO2 | 6 kg
156 | Parking 1 | Zone 2 – Parking No. 75 | Powder | 6 kg
157 | Parking 1 | Zone 3 – Generators Room | Foam | 50 kg
158 | Parking 2 | Zone 1 – Electricity Room | CO2 | 6 kg
159 | Parking 2 | Zone 1 – Parking No. 8 | Powder | 6 kg | Low pressure
160 | Parking 2 | Zone 1 – Parking No. 72 | Powder | 6 kg
161 | Parking 2 | Zone 1 – Parking No. 75 | Powder | 6 kg
162 | Parking 2 | Zone 2 – Parking No. 81 | Powder | 6 kg
163 | Parking 2 | Zone 2 – Parking No. 84 | Powder | 6 kg
164 | Parking 2 | Zone 3 – AHU Room | Powder | 6 kg
165 | Parking 2 | Zone 3 – Parking No. 85 | Powder | 6 kg
166 | Parking 2 | Zone 3 – AHU Room Dialysis | Powder | 6 kg
167 | Parking 2 | Zone 3 – Parking No. 47 | Powder | 6 kg
168 | Parking 2 | Zone 3 – Parking No. 46 | Powder | 6 kg
169 | Parking 2 | Zone 3 – Electricity Room | CO2 | 6 kg
170 | Parking 2 | Zone 3 – Parking No. 51 | Powder | 6 kg
171 | Parking 2 | Zone 3 – Parking No. 54 | Powder | 6 kg
172 | Parking 2 | Zone 3 – Service Elevators | CO2 | 6 kg
173 | Parking 2 | Zone 3 – Parking No. 55 | Powder | 6 kg
174 | Parking 2 | Zone 2 – Parking No. 60 | Powder | 6 kg
175 | Parking 2 | Zone 1 – Parking No. 65 | Powder | 6 kg
176 | Parking 2 | Zone 1 – Parking No. 66 | Powder | 6 kg
177 | Parking 2 | Zone 1 – Electricity Room | CO2 | 6 kg
178 | Parking 2 | Zone 1 – Parking No. 69 | Powder | 6 kg
179 | Parking 2 | Zone 1 – AHU Room | Powder | 6 kg
180 | Parking 2 | Zone 1 – Civil Defiance Elevators | Powder | 6 kg
181 | Level 1 | Zone 3 – Main Corridor | Powder | 6 kg
182 | Level 1 | Zone 3 – Main Corridor | Powder | 6 kg
183 | Level 1 | Zone 3 – Main Corridor | Powder | 6 kg
184 | Level 1 | Zone 3 – Clinic 102 | Powder | 6 kg
185 | Level 1 | Zone 3 – Clinic 106 | Powder | 6 kg
186 | Level 1 | Zone 3 – Procedure Room | Powder | 6 kg
187 | Level 1 | Zone 3 – Mechanical Shaft | Powder | 6 kg | Expired
188 | Level 1 | Zone 3 – Electrical Room | CO2 | 6 kg
189 | Level 1 | Zone 3 – Near Clean Utility | Powder | 6 kg
190 | Level 1 | Zone 3 – Electrical Room | CO2 | 6 kg
191 | Level 1 | Zone 3 – Near Renal Dialysis Unit | Powder | 6 kg
192 | Level 1 | Zone 3 – Renal Department | Powder | 6 kg
193 | Level 1 | Zone 3 – Service Elevators | Powder | 6 kg
194 | Level 1 | Zone 2 – Telecom Room | CO2 | 6 kg
195 | Level 1 | Zone 2 – Waiting Room | Powder | 6 kg
196 | Level 1 | Zone 2 – OPP – Store | Powder | 6 kg
197 | Level 1 | Zone 2 – OPP | Powder | 6 kg
198 | Level 1 | Zone 2 – Waiting Room | Powder | 6 kg
199 | Level 1 | Zone 2 – Telecom Room | CO2 | 6 kg
200 | Level 1 | Zone 1 – Main Corridor | Powder | 6 kg
201 | Level 1 | Zone 1 – Main Corridor | Powder | 6 kg
202 | Level 1 | Zone 1 – Main Corridor | Powder | 6 kg
203 | Level 1 | Zone 1 – Clinic 121 | Powder | 6 kg
204 | Level 1 | Zone 1 – Clinic 125 | Powder | 6 kg
205 | Level 1 | Zone 1 – Civil Defiance Elevator | Powder | 6 kg
206 | Level 1 | Zone 1 – Electrical Room | CO2 | 6 kg
207 | Level 1 | Zone 1 – Panoramic X-Ray Room | Powder | 6 kg
208 | Level 1 | Zone 1 – Outside Nurse Manager Office | Powder | 6 kg
209 | Level 1 | Zone 1 – Inside Nurse Manager Office | Powder | 6 kg
210 | Level 1 | Zone 1 – ESWL Storage | Powder | 6 kg | Expired
211 | Level 1 | Zone 1 – Disinfection Room | Powder | 6 kg | Expired
212 | Level 1 | Zone 1 – Service Elevators | Powder | 6 kg
213 | Level 1 | Zone 1 – Electrical Room | CO2 | 6 kg
214 | Level 2 | Zone 3 – Main Corridor | Powder | 6 kg
215 | Level 2 | Zone 3 – Main Corridor | Powder | 6 kg
216 | Level 2 | Zone 3 – Main Corridor | Powder | 6 kg
217 | Level 2 | Zone 3 – Nurse Station | Powder | 6 kg
218 | Level 2 | Zone 3 – AHU Room | Powder | 6 kg
219 | Level 2 | Zone 3 – Emergency Stairs | Powder | 6 kg
220 | Level 2 | Zone 3 – Genetics | Powder | 6 kg
221 | Level 2 | Zone 3 – Electrical Room | CO2 | 6 kg
222 | Level 2 | Zone 3 – LAB | Powder | 6 kg | Expired
223 | Level 2 | Zone 3 – LAB | CO2 | 6 kg
224 | Level 2 | Zone 3 – LAB Manager Office | Powder | 6 kg
225 | Level 2 | Zone 3 – Blood Bank | Powder | 6 kg
226 | Level 2 | Zone 3 – Electrical Room | CO2 | 6 kg
227 | Level 2 | Zone 3 – Service Elevator | Powder | 6 kg
228 | Level 2 | Zone 2 – Waste Room | Powder | 6 kg
229 | Level 2 | Zone 2 – Outside AHU Room | Powder | 6 kg
230 | Level 2 | Zone 2 – AHU Room | Powder | 6 kg
231 | Level 2 | Zone 2 – Telecom Room | CO2 | 6 kg
232 | Level 2 | Zone 2 – Telecom Room | CO2 | 6 kg | Expired
233 | Level 2 | Zone 1 – Main Corridor | Powder | 6 kg
234 | Level 2 | Zone 1 – Main Corridor | Powder | 6 kg
235 | Level 2 | Zone 1 – Pool Store | Powder | 6 kg | Expired
236 | Level 2 | Zone 1 – Main Corridor | Powder | 6 kg
237 | Level 2 | Zone 1 – AHU Room | Powder | 6 kg
238 | Level 2 | Zone 1 – Waste Room | Powder | 6 kg
239 | Level 2 | Zone 1 – Electrical Room | CO2 | 6 kg
240 | Level 2 | Zone 1 – Outside Therapy Gym | Powder | 6 kg
241 | Level 2 | Zone 1 – Therapy Female Gym Store | Powder | 6 kg | Expired
242 | Level 2 | Zone 1 – Therapy Gym Store | Powder | 6 kg | Expired
243 | Level 2 | Zone 1 – Near Head Office | Powder | 6 kg
244 | Level 2 | Zone 1 – Front of Men Office | Powder | 6 kg
245 | Level 2 | Zone 1 – Electrical Room | CO2 | 6 kg
246 | Level 2 | Zone 1 – Service Elevator | Powder | 6 kg | Expired
247 | Level 2 | Zone 1 – Chemotherapy Store | Powder | 6 kg
248 | Level 3 | Zone 3 – OR Pre No. 3 | Powder | 6 kg
249 | Level 3 | Zone 3 – Pre OR No. 6 | Powder | 6 kg
250 | Level 3 | Zone 3 – Anesthesia Store | Powder | 6 kg
251 | Level 3 | Zone 3 – OR – Stock Room | Powder | 6 kg
252 | Level 3 | Zone 3 – OR – Beside Equipment Room | Powder | 6 kg
253 | Level 3 | Zone 3 – OR – Equipment Elevator | Powder | 6 kg
254 | Level 3 | Zone 3 – OR – Electrical Room | CO2 | 6 kg
255 | Level 3 | Zone 3 – OR – Beside Electrical Room | Powder | 6 kg
256 | Level 3 | Zone 3 – OR – Reception | Powder | 6 kg
257 | Level 3 | Zone 3 – OR Room 1 | Powder | 6 kg | Expired
258 | Level 3 | Zone 3 – OR Room 4 | Powder | 6 kg | Expired
259 | Level 3 | Zone 3 – Near to Pluming Shaft | Powder | 6 kg
260 | Level 3 | Zone 3 – Service Elevators | Powder | 6 kg
261 | Level 3 | Zone 3 – Telecom Room | CO2 | 6 kg
262 | Level 3 | Zone 3 – Inside Corridor | Powder | 6 kg
263 | Level 3 | Zone 2 – Dirty Utility | Powder | 6 kg
264 | Level 3 | Zone 2 – OR Store Inside PACU | Powder | 6 kg
265 | Level 3 | Zone 2 – Inside PACU Nurse Station | Powder | 6 kg
266 | Level 3 | Zone 2 – Air Lock | Powder | 6 kg
267 | Level 3 | Zone 2 – Main Elevators | Powder | 6 kg
268 | Level 3 | Zone 2 – Main Elevators | Powder | 6 kg
269 | Level 3 | Zone 1 – CCU 1 | Powder | 6 kg
270 | Level 3 | Zone 1 – Ventilator store | Powder | 6 kg | Low pressure
271 | Level 3 | Zone 1 – CCU 7 | Powder | 6 kg
272 | Level 3 | Zone 1 – Electrical Room | CO2 | 6 kg
273 | Level 3 | Zone 1 – Emergency Stairs | Powder | 6 kg
274 | Level 3 | Zone 1 – PICU 2 | Powder | 6 kg
275 | Level 3 | Zone 1 – ICU 3 | Powder | 6 kg
276 | Level 3 | Zone 1 – ICU 7 | Powder | 6 kg
277 | Level 3 | Zone 1 – Service Elevators | Powder | 6 kg
278 | Level 3 | Zone 1 – Telecom Room | CO2 | 6 kg
279 | Level 3 | Zone 1 – ICU Supply Store | Powder | 6 kg | Expired
280 | Level 3 | Zone 1 – Family waiting room | Powder | 6 kg | Expired
281 | Service 1 | Zone 3 – Inpatient Pharmacy | Powder | 6 kg
282 | Service 1 | Zone 3 – Inpatient Pharmacy | Powder | 6 kg
283 | Service 1 | Zone 3 – Outside Inpatient Pharmacy | Powder | 6 kg
284 | Service 1 | Zone 3 – Outside Inpatient Pharmacy | Powder | 6 kg
285 | Service 1 | Zone 3 – CSSD font of elevator | Powder | 6 kg
286 | Service 1 | Zone 3 – CSSD Chemical Store | Powder | 6 kg | Expired
287 | Service 1 | Zone 3 – CSSD | Powder | 6 kg | Expired
288 | Service 1 | Zone 3 – CSSD | Powder | 6 kg | Expired
289 | Service 1 | Zone 3 – Corridor Near CSSD | Powder | 6 kg
290 | Service 1 | Zone 3 – Dispatching Area | Powder | 6 kg
291 | Service 1 | Zone 3 – Outside AHU Room | Powder | 6 kg
292 | Service 1 | Zone 3 – Outside AHU Room | Powder | 6 kg
293 | Service 1 | Zone 3 – AHU Room | Powder | 6 kg
294 | Service 1 | Zone 3 – AHU Room | Powder | 6 kg
295 | Service 1 | Zone 3 – Electrical Room inside AHU R | CO2 | 6 kg
296 | Service 1 | Zone 3 – AHU Room | Powder | 6 kg
297 | Service 1 | Zone 3 – Front of Cart Storage | Powder | 6 kg
298 | Service 1 | Zone 3 – Service Elevators | Powder | 6 kg | Low pressure
299 | Service 1 | Zone 3 – Electrical Room | CO2 | 6 kg
300 | Service 1 | Zone 3 – Telecom Room | CO2 | 6 kg
301 | Service 1 | Zone 2 – Clean Linen | Powder | 6 kg | Expired
302 | Service 1 | Zone 2 – Main Elevators | Powder | 6 kg
303 | Service 1 | Zone 2 – Main Elevators | Powder | 6 kg
304 | Service 1 | Zone 2 – Kitchen | CO2 | 6 kg | Expired
305 | Service 1 | Zone 2 – Kitchen | Wet Chemical | 6 kg | Expired
306 | Service 1 | Zone 1 – Body Refrigerator | Powder | 6 kg
307 | Service 1 | Zone 1 – AHU Room | Powder | 6 kg
308 | Service 1 | Zone 1 – AHU Room | Powder | 6 kg
309 | Service 1 | Zone 1 – IT Data room | CO2 | 6 kg | Expired
310 | Service 1 | Zone 1 – UPS Room | CO2 | 6 kg
311 | Service 1 | Zone 1 – Battery Room | CO2 | 6 kg
312 | Service 1 | Zone 1 – Electrical Room | CO2 | 6 kg
313 | Service 1 | Zone 1 – Chemical Store | Powder | 6 kg | Expired
314 | Service 1 | Zone 1 – Emergency Stairs | Powder | 6 kg
315 | Service 1 | Zone 1 – CEO Office Manager | Powder | 6 kg
316 | Service 1 | Zone 1 – Near Warehouse | Powder | 6 kg
317 | Service 1 | Zone 1 – Warehouse | Powder | 6 kg
318 | Service 1 | Zone 1 – Warehouse | Powder | 6 kg | Expired
319 | Service 1 | Zone 1 – Near Nursing Department | Powder | 6 kg
320 | Service 1 | Zone 1 – Service Elevator | Powder | 6 kg
321 | Service 1 | Zone 1 – Telecom Room | CO2 | 6 kg
322 | Service 1 | Zone 1 – Electrical Room | CO2 | 6 kg
323 | Service 1 | Zone 2 – Financial Affair | Powder | 6 kg
324 | Service 1 | Zone 2 – Infection control office | Powder | 6 kg | Expired
325 | Level 4 | Zone 1 – IN, W. Room No. 420 | Powder | 6 kg
326 | Level 4 | Zone 1 – IN, W. Supply Store | Powder | 6 kg | Expired
327 | Level 4 | Zone 1 – IN, W. Supply Store | Powder | 6 kg | Expired
328 | Level 4 | Zone 1 – IN, W. Outside Electrical Room | Powder | 6 kg
329 | Level 4 | Zone 1 – IN, W. Electrical Room | CO2 | 6 kg
330 | Level 4 | Zone 1 – IN, W. Room No. 414 | Powder | 6 kg
331 | Level 4 | Zone 1 – IN, W. Room No. 411 | Powder | 6 kg
332 | Level 4 | Zone 1 – IN, W. Room No. 408 | Powder | 6 kg
333 | Level 4 | Zone 1 – IN, W. Room No. 403 | Powder | 6 kg
334 | Level 4 | Zone 1 – Service Elevators | Powder | 6 kg
335 | Level 4 | Zone 1 – Telecom Room | CO2 | 6 kg
336 | Level 4 | Zone 1 – Electrical Room | CO2 | 6 kg
337 | Level 4 | Zone 2 – AHU Room | Powder | 6 kg
338 | Level 4 | Zone 2 – Back Corridor | Powder | 6 kg
339 | Level 4 | Zone 2 – Back Corridor | Powder | 6 kg
340 | Level 4 | Zone 3 – External Garden | Powder | 6 kg
341 | Level 4 | Zone 2 – Main Elevators | Powder | 6 kg
342 | Level 4 | Zone 2 – Main Elevators | Powder | 6 kg
343 | Level 4 | Zone 3 – NICU Entrance | CO2 | 6 kg
344 | Level 4 | Zone 3 – Electrical Room | Powder | 6 kg
345 | Level 4 | Zone 3 – Service Elevators | Powder | 6 kg
346 | Level 4 | Zone 3 – LDR Telecom Room | CO2 | 6 kg
347 | Level 4 | Zone 3 – LDR Corridors | Powder | 6 kg
348 | Level 4 | Zone 3 – LDR Corridors | Powder | 6 kg
349 | Level 4 | Zone 3 – Near Supply Store | Powder | 6 kg
350 | Level 4 | Zone 3 – OR Supply Store | Powder | 6 kg | Expired
351 | Level 4 | Zone 3 – NICU Emergency Stairs | Powder | 6 kg
352 | Level 4 | Zone 3 – NICU AHU Room | Powder | 6 kg
353 | Level 4 | Zone 3 – NICU Electrical Room | CO2 | 6 kg
354 | Level 4 | Zone 3 – NICU Store | Powder | 6 kg | Expired
355 | Level 4 | Zone 3 – NICU | Powder | 6 kg
356 | Level 4 | Zone 3 – NICU Front Door | Powder | 6 kg
357 | Level 4 | Zone 3 – NICU Elevator Department | Powder | 6 kg
358 | Level 4 | Zone 3 – OR Store Sterile | Powder | 6 kg | Expired
359 | Level 4 | Zone 3 – LDR Environmental Services | Powder | 6 kg
360 | Level 5 | Zone 3 – Room No. 502 | Powder | 6 kg
361 | Level 5 | Zone 3 – Room No. 509 | Powder | 6 kg
362 | Level 5 | Zone 3 – Room No. 512 | Powder | 6 kg
363 | Level 5 | Zone 3 – Supply Store | Powder | 6 kg
364 | Level 5 | Zone 3 – Room No. 517 | Powder | 6 kg
365 | Level 5 | Zone 3 – Staff Lounge Female | Powder | 6 kg | Expired
366 | Level 5 | Zone 3 – Outside Electrical Room | Powder | 6 kg
367 | Level 5 | Zone 3 – Electrical Room | CO2 | 6 kg
368 | Level 5 | Zone 3 – Supply Store | Powder | 6 kg
369 | Level 5 | Zone 3 – Room No. 523 | Powder | 6 kg
370 | Level 5 | Zone 3 – Electrical Room Elevators | CO2 | 6 kg
371 | Level 5 | Zone 3 – Telecom Room Elevators | CO2 | 6 kg
372 | Level 5 | Zone 3 – Outside Telecom Room | CO2 | 6 kg
373 | Level 5 | Zone 2 – AHU Room | Powder | 6 kg
374 | Level 5 | Zone 2 – Main Elevators | Powder | 6 kg
375 | Level 5 | Zone 2 – Main Elevators | Powder | 6 kg
376 | Level 5 | Zone 2 – Back Corridor | Powder | 6 kg
377 | Level 5 | Zone 2 – Back Corridor | Powder | 6 kg
378 | Level 5 | Zone 2 – Near AHU Room | Powder | 6 kg
379 | Level 5 | Zone 2 – AHU Room | Powder | 6 kg
380 | Level 5 | Zone 1 – Room No. 545 | Powder | 6 kg
381 | Level 5 | Zone 1 – Supply Store | Powder | 6 kg
382 | Level 5 | Zone 1 – Outside Electrical Room | Powder | 6 kg
383 | Level 5 | Zone 1 – Electrical Room | CO2 | 6 kg
384 | Level 5 | Zone 1 – Room No. 537 | Powder | 6 kg
385 | Level 5 | Zone 1 – Supply Store | Powder | 6 kg
386 | Level 5 | Zone 1 – Room No. 535 | Powder | 6 kg
387 | Level 5 | Zone 1 – Staff Lounge | Powder | 6 kg
388 | Level 5 | Zone 1 – Room No. 531 | Powder | 6 kg
389 | Level 5 | Zone 1 – Room No. 526 | Powder | 6 kg
390 | Level 5 | Zone 1 – Service Elevators | Powder | 6 kg
391 | Level 5 | Zone 1 – Telecom Room | CO2 | 6 kg
392 | Level 5 | Zone 1 – Electrical Room | CO2 | 6 kg
393 | Level 6 | Zone 3 – Room No. 601 | Powder | 6 kg
394 | Level 6 | Zone 3 – Room No. 603 | Powder | 6 kg
395 | Level 6 | Zone 3 – Room No. 610 | Powder | 6 kg
396 | Level 6 | Zone 3 – Room No. 613 | Powder | 6 kg | Expired- Low Pressure
397 | Level 6 | Zone 3 – Supply Store | Powder | 6 kg
398 | Level 6 | Zone 3 – Interview Office | Powder | 6 kg
399 | Level 6 | Zone 3 – Room No. 618 | Powder | 6 kg
400 | Level 6 | Zone 3 – Meeting Room | Powder | 6 kg
401 | Level 6 | Zone 3 – Outside Electrical Room | Powder | 6 kg
402 | Level 6 | Zone 3 – Electrical Room | CO2 | 6 kg
403 | Level 6 | Zone 3 – Room No. 624 | Powder | 6 kg
404 | Level 6 | Zone 3 – Elevators Telecom Room | CO2 | 6 kg
405 | Level 6 | Zone 3 – Elevators Electrical Room | CO2 | 6 kg
406 | Level 6 | Zone 2 – AHU Room | Powder | 6 kg
407 | Level 6 | Zone 2 – Back Corridor | Powder | 6 kg
408 | Level 6 | Zone 2 – Back Corridor | Powder | 6 kg
409 | Level 6 | Zone 2 – Main Elevators | Powder | 6 kg
410 | Level 6 | Zone 2 – Main Elevators | Powder | 6 kg
411 | Level 6 | Zone 2 – Outside AHU Room | Powder | 6 kg
412 | Level 6 | Zone 2 – AHU Room | Powder | 6 kg
413 | Level 6 | Zone 1 – Room No. 648 | Powder | 6 kg
414 | Level 6 | Zone 1 – Supply Store | Powder | 6 kg
415 | Level 6 | Zone 1 – Outside Electrical Room | Powder | 6 kg
416 | Level 6 | Zone 1 – Electrical Room | CO2 | 6 kg
417 | Level 6 | Zone 1 – Outside Supply Store | Powder | 6 kg | Expired
418 | Level 6 | Zone 1 – Supply Store | Powder | 6 kg
419 | Level 6 | Zone 1 – Room No. 638 | Powder | 6 kg | Expired
420 | Level 6 | Zone 1 – Staff Lounge | Powder | 6 kg | Low Pressure
421 | Level 6 | Zone 1 – Room No. 634 | Powder | 6 kg
422 | Level 6 | Zone 1 – Room No. 629 | Powder | 6 kg
423 | Level 6 | Zone 1 – Service Elevators | Powder | 6 kg
424 | Level 6 | Zone 1 – Telecom Room | CO2 | 6 kg
425 | Level 6 | Zone 1 – Electrical Room | CO2 | 6 kg
426 | Level 7 | Zone 3 – Room No. 701 | Powder | 6 kg
427 | Level 7 | Zone 3 – Room No. 703 | Powder | 6 kg
428 | Level 7 | Zone 3 – Room No. 710 | Powder | 6 kg
429 | Level 7 | Zone 3 – Room No. 713 | Powder | 6 kg
430 | Level 7 | Zone 1 – Supply Store | Powder | 6 kg
431 | Level 7 | Zone 3 – Room No. 718 | Powder | 6 kg
432 | Level 7 | Zone 3 – Interview Office | Powder | 6 kg
433 | Level 7 | Zone 3 – Staff Female Lounge | Powder | 6 kg
434 | Level 7 | Zone 3 – Outside Electrical Room | Powder | 6 kg
435 | Level 7 | Zone 3 – Electrical Room | CO2 | 6 kg
436 | Level 7 | Zone 3 – Room No. 724 | Powder | 6 kg
437 | Level 7 | Zone 3 – Elevators Electrical Room | CO2 | 6 kg
438 | Level 7 | Zone 3 – Elevators Telecom Room | CO2 | 6 kg
439 | Level 7 | Zone 2 – AHU Room | Powder | 6 kg
440 | Level 7 | Zone 2 – Back Corridor | Powder | 6 kg | Expired
441 | Level 7 | Zone 2 – Back Corridor | Powder | 6 kg
442 | Level 7 | Zone 2 – Main Elevators | Powder | 6 kg
443 | Level 7 | Zone 2 – Main Elevators | Powder | 6 kg
444 | Level 7 | Zone 2 – Outside AHU Room | Powder | 6 kg
445 | Level 7 | Zone 2 – AHU Room | Powder | 6 kg
446 | Level 7 | Zone 1 – Room No. 714 | Powder | 6 kg
447 | Level 7 | Zone 1 – Supply Store | Powder | 6 kg
448 | Level 7 | Zone 1 – Outside Electrical Room | Powder | 6 kg
449 | Level 7 | Zone 1 – Electrical Room | CO2 | 6 kg
450 | Level 7 | Zone 3 – Supply Store | Powder | 6 kg
451 | Level 7 | Zone 1 – Suite 6 | Powder | 6 kg
452 | Level 7 | Zone 1 – Staff Female Lounge | Powder | 6 kg
453 | Level 7 | Zone 1 – Suite 5 | Powder | 6 kg
454 | Level 7 | Zone 1 – Suite 2 | Powder | 6 kg
455 | Level 7 | Zone 1 – Service Elevators | Powder | 6 kg
456 | Level 7 | Zone 1 – Telecom Room | CO2 | 6 kg
457 | Level 7 | Zone 1 – Electrical Room | CO2 | 6 kg
458 | Service 2 | Zone 3 – Meeting Room | Powder | 6 kg
459 | Service 2 | Zone 3 – Back Corridor | Powder | 6 kg
460 | Service 2 | Zone 3 – Back Corridor | Powder | 6 kg
461 | Service 2 | Zone 3 – AHU Room | Powder | 6 kg
462 | Service 2 | Zone 3 – Transformer | CO2 | 6 kg
463 | Service 2 | Zone 3 – Near Electrical Room | CO2 | 6 kg
464 | Service 2 | Zone 3 – Near Garden | CO2 | 6 kg
465 | Service 2 | Zone 3 – External Mechanical | Powder | 6 kg
466 | Service 2 | Zone 3 – Service Elevators | Powder | 6 kg
467 | Service 2 | Zone 3 – Electrical Room | CO2 | 6 kg
468 | Service 2 | Zone 3 – Pump room ( left room) | Powder | 6 kg
469 | Service 2 | Zone 3 – Pump room ( front room) | Powder | 6 kg
470 | Service 2 | Zone 3 – AC Area | Powder | 6 kg
471 | Service 2 | Zone 1 – AC Area | Powder | 6 kg
472 | Service 2 | Zone 2 – AC Area | Powder | 6 kg
473 | Service 2 | Zone 2 – Back Corridor | Powder | 6 kg
474 | Service 2 | Zone 2 – Back Corridor | Powder | 6 kg
475 | Service 2 | Zone 2 – Lobby | Powder | 6 kg
476 | Service 2 | Zone 2 – Food Area | Powder | 6 kg
477 | Service 2 | Zone 1 – Outside Housekeeping Utility | Powder | 6 kg
478 | Service 2 | Zone 1 – Service Elevators | Powder | 6 kg
479 | Service 2 | Zone 1 – Electrical Room | CO2 | 6 kg | Expired
480 | Service 2 | Zone 1 – CEO Office | Powder | 6 kg | Expired
481 | Service 2 | Zone 1 – CEO Coffee Area | Powder | 6 kg
482 | Service 2 | Zone 1 – Mechanical Room | Powder | 6 kg
483 | Service 2 | Zone 1 – AHU Room | Powder | 6 kg
484 | Service 2 | Zone 1 – Outside AHU Room | Powder | 6 kg | Expired
485 | Service 2 | Zone 3 – Pump room ( left room) | Powder | 6 kg
Note:
Name: | Sultan Alharith |  | Turki Julaydan
ID: | 11964 |  | 11961
Date: | 2026-04-08
|  | Issues | Quantity
|  | Expired | 71
|  | Low Pressure | 8
|  | Broken door handle | 3
|  | Poor Condition | 1